|  |
| --- |
| **TABLE 11 - ELECTRICAL INFORMATION** |
| **SERVICE TRANSFORMER:**  By Utility Company  By Agency If by Agency:       KVA Primary       Voltage/Phase |
| **ELECTRICAL SERVICE INFORMATION:**  Service Voltage/Phase:       V/       Amperes:  Service Entrance Conductors Size:       Quantity per Phase:  Total Connected Load:       KVA Estimated Demand Factor:  Estimated Maximum Demand:       Amperes  Available Fault Current in Symmetrical Amperes:       Amperes  Interrupting Capacity of Service Overcurrent Device:       Amperes  Grounding Electrode System Components:  Metal Underground Water Pipe  Metal In-ground Support Structure(s)  Concrete-Enclosed Electrode  Ground Ring  Rod and Pipe Electrodes  Plate Electrodes  Other Local Metal Underground Systems or Structures  Other Listed Electrodes, please specify |
| **EMERGENCY SERVICE INFORMATION:**  Generator 1:  Emergency  Standby  Op. Standby       Voltage/Phase       Fuel       KVA  Generator 2:  Emergency  Standby  Op. Standby  Integral Battery       Fuel       KVA  Exit/Emergency Egress Lighting Backup Power  Battery  Generator  Fire Alarm System:  Manual  Auto  Manual/Auto  Addressable  Class A  Class B  Fire Alarm System Method of Communication to Monitoring Station (please specify):      .  Fire Alarm Pathway Survivability:  Level 0  Level 1  Level 2  Level 3  Carbon Monoxide Detection Required?  Yes  No  Emergency Responder Radio Coverage Enhancement Req.?  Yes  No |
| **LIGHTNING PROTECTION SYSTEM PROVIDED:**  Yes  No |