TABLE 6 GENERAL FIRE PROTECTION REQUIREMENTS

SEPARATIONS

Fireblocking Required (IBC Section 718) Yes No

Draftstopping Required (IBC Section 718) Yes No

Smoke Control System Required (IBC Section 909) Yes No

Smoke Barriers Required (IBC Section 407 & 408) Yes No

Smoke Partitions Required (IBC Section 407) Yes No

Fire Partition Required (IBC Section 708) Yes No

Fire Barrier Required (IBC Section 707) Yes No

ALARM & DETECTION

Fire Alarm System Required (IFC Section 907) Yes No

Emergency/Voice Alarm Communications System Required (IFC Section 907.5.2.2) Yes No

Fire Command Center Required (IFC Section 508) Yes No

SUPPRESSION

Standpipes Required (IFC Section 905) Yes No

Sprinklers Required (IFC Section 903) Yes No

Sprinklers Provided ( ) Yes No

Portable extinguishers required (IFC 906) Yes No

Other suppression systems required (IFC 904) Yes No

Smoke & heat vents required (IFC 910) Yes No

OTHER: (Indicate other provided fire and life safety features not listed above, if any)

Emergency Responder Communication Coverage: (IFC Section 510) Provide test to confirm if Communication Coverage Enhancement is Required? Yes No If No, please explain why not: